## Slide 1: Team Ink3D Charter / Plan Review
Daniel Lain
Tim Edmonson
Shawn Simonson
Jesse Bowles

## Slide 2: Organization
Oversight – Dr. Shiakolas , Mr. O’Dell
Constraints
Assumptions
Role | Assigned To | Responsibility
Project Manager | Daniel Lain | Maintain Project Plan Assign Tasks to Team Turn in Deliverables Risk Manager Change Approval
Hardware Lead | Shawn Simonson | Plan Hardware Interfaces Research Hardware Hardware Development ME Liaison Change Approval
Software Engineering Lead | Jesse Bowles | System Architecture Modular Planning Scalability Planning Develop UMLs Change Approval
Lead Programmer | Tim Edmonson | Algorithm Development Open Source Selection Algorithm Research Change Approval

## Slide 3: Overview
Product Concept
Functional Requirements
User Interface Requirements
Input and Output Requirements
Packaging Requirements
Performance Requirements
Other Requirements
Uses Cases
Feasibility Analysis

## Slide 4: Product Concept
Product: 3-D Printer Fabrication System
Problem Solved: The need to fabricate custom human compatible medical devices
Audience:
  Dr. Panos S. Shiakolas, Manufacturing Automation and Robotic Systems (MARS) lab at University of Texas Arlington,
  Medical Researchers
  Material Researchers

## Slide 5: Product Concept

## Slide 6: Functional Requirements
3.1 STL File Input
  Priority: 1 – Critical
3.4 Issue Machine Instructions
  Priority: 1 – Critical
3.5 Monitor Temperature
  Priority: 1 – Critical
3.6 Monitor Position
  Priority: 1 – Critical
3.8 Identify Materials
  Priority: 1 - Critical
3.9 Identify Shapes
  Priority: 1 - Critical
Completed
Partially Completed
Completed
Completed
Completed
Completed

## Slide 7: Functional Requirements
3.10 Determine Shape of Support Material Structure
  Priority: 1 - Critical
3.11 Create Printing Path
  Priority: 1 – Critical
3.14 Slice Geometry into Thickness Levels
  Priority: 1 – Critical
3.17 Allow for UV Head Polymerization
  Priority: 1 – Critical
Non Critical Requirements
  3.16 Monitor Door Switch
  3.18 Sparsity and Density Controls
Completed
Completed
Completed
Completed
Incomplete
Completed

## Slide 8: User Interfaces Requirements
3.2 Graphical User Interface
  Priority: 3 – Moderate
3.12 Database Interface
  Priority: 1 - Critical
3.13 Store & Load Material Records
  Priority: 1 – Critical
3.19 Graphical Object Models
  Priority: 5 – Future
Completed
Completed
Completed
Incomplete

## Slide 9: Packaging Requirements
4.1 Software Installer
  Priority: 1 – Critical
4.2 Host Software to Printer Connection
  Priority: 1 – Critical
4.3 User Manual
  Priority: 3 - Moderate
Completed
Completed
Completed

## Slide 10: Performance Requirements
5.1 Startup Time
  Priority: 4 – Low
5.2 STL Import Time
  Priority: 4 – Low
5.3 Object Processing Time
  Priority: 2 – High
5.4 GUI Responsiveness
  Priority: 3 – Moderate
Completed
Completed
Completed
Completed

## Slide 11: Performance Requirements
5.5 Real Time Sensor Monitoring
  5.5.1 Description: The system shall monitor data from sensors in real time during operation. The sensor data must be monitored in real time to ensure proper printer functionality as well as enforce safety systems.
  5.5.2 Source: Tim Edmondson (Team Member)
  5.5.3 Constraints: Constant monitoring of sensors could require expensive processing and memory resources.
  5.5.4 Standards: None
  5.5.5 Priority: 2 – High

## Slide 12: Other Requirements : Safety
6.1 Temperature Cutoff Threshold
  6.1.1 Description: The system shall include a temperature cutoff threshold for the printer head. If the temperature of the printer head reaches the cutoff temperature, the system will abort the operation and shut off the heating device.
  6.1.2 Source: Tim Edmondson (Team Member)
  6.1.3 Constraints: The system must be able to accurately monitor the temperature of each printing head.
  6.1.4 Standards: None
  6.1.5 Priority: 1 – Critical
6.2 Printing Area Restrictions
  6.2.1 Description: The system shall only extrude material within a configured area. Material extruded by the printer will be at a high temperature and may cause harm to the printer’s surroundings; therefore it is important to ensure that the material is only extruded in a specified safe area.
  6.2.2 Source: Tim Edmondson (Team Member)
  6.2.3 Constraints: None
  6.2.4 Standards: None
  6.2.5 Priority: 1 – Critical

## Slide 13: Other Requirements: Maintenance and Support
7.1 Host Software Manual
  7.1.1 Description: A manual that details the operation of the host software shall be provided. Here, “host software” is that software which is run on the workstation that generates machine instructions for the printing hardware. The manual must detail common troubleshooting issues as well as provide basic usage instructions.
  7.1.2 Source: Shawn Simonson (Team Member)
  7.1.3 Constraints: None
  7.1.4 Standards: None
  7.1.5 Priority: 1 – Critical
7.2 Source Code Documentation
  7.2.1 Description: The source code developed by the software team shall be well documented with comments explaining the functionality of all modules and any non- obvious code. This documentation is intended to support any future development on the system.
  7.2.2 Source: Tim Edmondson (Team Member)
  7.2.3 Constraints: None
  7.2.4 Standards: None
  7.2.5 Priority: 2 – High

## Slide 14: Other Requirements: Maintenance and Support
7.3 Source Code Availability
  7.3.1 Description: The source code developed by the software team shall be freely available to developers and the public. The source code will be hosted on a public repository.
  7.3.2 Source: Shawn Simonson (Team Members)
  7.3.3 Constraints: None
  7.3.4 Standards: Git, SVN
  7.3.5 Priority: 2 – High

## Slide 15: Other Requirements: Additional
8.1 Material Database
  8.1.1 Description: The system shall have a database that holds information about how the material is printed. For each material, the database must hold the diameter of the material filament and the temperature the filament must be extruded at.
  8.1.2 Source: Dr. Panos S. Shiakolas (Sponsor)
  8.1.3 Constraints: None
  8.1.4 Standards: Binary Text
  8.1.5 Priority: 1 – Critical
8.2 Abstract Hardware Interface
  8.2.1 Description: The system shall allow for multiple different printers and multiple different heads to be used with minimal software change.
  8.2.2 Source: Jesse Bowles (Team Member)
  8.2.3 Constraints: Unknown hardware interface
  8.2.4 Standards: None
  8.2.5 Priority: 1 – Critical

## Slide 16: Other Requirements: Additional
8.3 Modular and Scalable Design
  8.3.1 Description: The software shall be developed using proven design principles to ensure that it can be scaled and maintained by future development teams.
  8.3.2 Source: Dr. Panos S. Shiakolas (Sponsor)
  8.3.3 Constraints: None
  8.3.4 Standards: S.O.L.I.D. Design Principles
  8.3.5 Priority: 1 – Critical